## Slide 1: Identifying risks in popular laboratory experiments
Phillip Crisp and Eva Crisp

## Slide 2: 21 November 2022 Manly West Public School
2 students with serious burns
9 students with superficial burns
1 teacher with minor burns
• S Keoghan, M. Muroi and M. Gorrey “’Something had to be up’: Children in hospital as experiment goes wrong” Sydney Morning Herald, 21/11/22.
• “Hazmat incident at Manly West Public School”, Manly Observer, 21/11/22.
• E. Visontay and T. Rose “Children suffer serious burns after outdoor science experiment goes wrong at Sydney school” The Guardian, 21/11/22.

## Slide 3: What happened?
Carbon sugar snake
(black snake, sugar snake)
sugar
sodium bicarbonate
methylated spirits / lighter fluid
From the limited information in the news reports, apparently:
• Demonstration performed outdoors on a very windy day
• Gust of wind blew burning material onto students
• Suspect a large-scale demonstration (since so many injured)
Further information?

## Slide 4: Work Health & Safety Act 2011
. . . a duty . . . to eliminate/minimise risks to health and safety as far as is reasonably practicable.
. . . taking into account and weighing up all relevant matters including: (a) the likelihood of the hazard or the risk concerned occurring; and (b) the degree of harm that might result from the hazard or the risk . . . .
Part 2, Sections 17 and 18

## Slide 5
all relevant matters includes
facilities available
behaviour of the class
students with special needs
students with allergies
• . . . . . . . .
(NOT book “risk assessment”, tick sheet, etc)
likelihood
degree of harm consideration requires
proper risk assessment using a risk matrix
e.g. Aust/ISO Standard on Risk Management

## Slide 6: Chemicals most likely to cause injury
MAJOR
methylated spirits fires
hot water scalding
chlorine, sulfur dioxide inhalation
sodium hydroxide in eyes
MINOR
acids/alkalis on skin (or in eyes)
Don’t follow YouTube without further research!

## Slide 7: Flammable liquids
methylated spirits
e.g. chlorophyll extraction *
steam engine
coloured flames (MCln, borates)
Others
petrol and liquid hydrocarbons
acetone
Bunsen burner on ‘safety’ = ignition source
Tools (e.g. angle grinder) = ignition source *

## Slide 8: Flammable solids
sulfur
e.g. plastic sulfur *
paper
e.g. ignition in Bunsen flame
Others
sulfur + KClO3 *
gummy bear + KClO3 *

## Slide 9: Flammable gases
Town gas
e.g. whole building explosion *
leak from fitting/Bunsen
Hydrogen
e.g. Na + water *
Al + NaOH(aq) *
LPG
e.g. leaks from fittings (barbeque)
LPG + O2 *

## Slide 10: Toxic gases
sulfur dioxide
e.g. heating sulfur *
chlorine
e.g. bleach + acid (incl. coca cola) *
ammonia, e.g. spills
• bromine + hexene *
• iodine vapour

## Slide 11: Corrosive chemicals
alkalis e.g. NaOH, concentrated and hot *
acids
e.g. H2SO4, conc (another black snake) *
HCl, conc
ammonia
e.g. conc NH3

## Slide 12: Cold burns
dry ice e.g. prolonged skin contact *
liquid nitrogen
e.g. prolonged skin contact *
asphyxiation *
Don’t drink! *

## Slide 13: Scalding liquids
Beaker of liquid on tripod & gauze e.g. major burns; easy to knock over
Liquid ejected from test tube
e.g. minor or major burns

## Slide 14: Equipment most likely to cause injury
COMMON
• hot objects, e.g. Bunsen, hotplate, glue gun
• sharp objects, e.g. broken glass, scalpel
• cracked beakers, flasks, etc
LESS COMMON
• short-circuited batteries
• latex gloves
Students throwing things!

## Slide 15: Hot objects
Bunsen burner + tripod + gauze e.g. numerous minor burns
hot beakers, flasks, test tubes
e.g. numerous minor burns
hot glass rods/tubing, wires, crucibles
e.g. flame tests, glass working
hot plates
e.g. burns to forearm
• thermite reaction

## Slide 16: Biological materials most likely to cause injury
Extreme allergic reactions to foods:
• peanuts, peanut oil, peanut products
• tree nuts
• shellfish and crustaceans (including sea monkeys *)
and, less commonly, eggs, milk, wheat, soy, fish, sesame, . .
Allergic reactions to plant materials, including:
• rhus (leaves, stems)
• London Plane tree (trichomes)
• pollens and moulds
Animal bites and stings
e.g. ticks, leeches, bees, pet animals

## Slide 17
extreme allergies e.g. nuts * (Epipen training, avoid peanut oil, etc)
human blood e.g. blood group testing *
• culturing pathogens

## Slide 18
Laboratory injuries are significant
and nearly all can be prevented.

## Slide 19: How to spot dangers
Lack of knowledge
Untrained people doing things
Failure to assess risks
Failure to test experiment beforehand
Disorganised workplace
No ‘routine procedures’ for lab
Spur-of-the-moment experiments
Change without preparation
YouTube without thinking
. . . . . .

## Slide 20: How to prevent an “accident”
Understand the potential hazards associated with equipment, chemicals and biological/food items
Carry out a risk assessment before you do anything!
Introduce control measures to make risk level LOW:
Protect against likely problems (e.g. tray beneath)
Physically protect the work area (e.g. fume cupboard)
Protect yourself (e.g. safety glasses, gloves)
Know emergency procedures and first aid
RiskAssess can help!

## Slide 21: RiskAssess demonstration
Website
www.riskassess.com.au
Learning resources
www.riskassess.com.au/info/learning_resources